## Sheet1
19-ID Component Map
Item | Position | Position | Beamline Component | Length | LCC | Motors |  |  | Vacuum |  |  | Flow |  | Temperture Sensors |  | Electrical |  |  | ES&H
# | Source (mm) | Straight (mm) |  | (mm) | # | # | volts | amps | IP | GV | guaging | (rate liter/mim) | (sensor #) | (PT100 RTD #) | (J Type thermocoupler #) | (VAC) | (amperes) | (phase) | check
STRAIGHT SECTION
1 |  | -2648 | Canting Magnet 1
Tapered Transition 1
| 0 | -1000 | Center of Source IVU (NYX) | 2000
|  | 0 | Center of Straight
Tapered Transition 2
|  | 577 | Canting Magnet 2
|  |  | Center of Source IVU (LAX) | 1000
|  | 2794 | Canting Magnet 3
FRONT END
BMPS, GV, FAPM, BC1, Photon Shutter, FV,BC2, Safety Shutter,
| 26468 | 25468 | Rachet Wall
|  |  | 19-ID-A FOE | 5000
|  |  | BNL Vacuum gauge & valve | [6 empty] | DN100 | 1
LCC1
"LAX Hutch Component" White Beam Assembly
|  |  | Cross | [5 empty] | 300
| 26202.82 |  | Fixed Mask (water cooled) | [8 empty] | 2 | 1 | 2
| 26518.92 |  | Lead Collimator
|  |  | Cross | [5 empty] | 300
|  |  | GV | [6 empty] | DN100
|  |  | IP (on-tube) | [5 empty] | DI120
4" tube
| 29670.48 |  | White Beam Mask (NYX) & Beamstop (LAX)
| 29850 |  | BS Collimator (tungsten)
GV
| 31468 | 30468 | Downstream Wall
|  |  | WHITE BEAM TRANSPORT | 16812
|  |  | IP | [5 empty] | 150
|  |  | IP | [5 empty] | 150
|  |  | 19-ID-C NYX OE | 10000
| 48280 | 47280 | Upstream Wall
LCC2
|  |  | Cross | [5 empty] | DI220 | DN100
|  |  | GV | [6 empty] | DN100
|  |  | BPM1 (DN100 flange) |  | 2 | 2 | 48 | 2
"NYX Hutch Components" Module 1
|  |  | GV | [6 empty] | DN63
|  |  | Cross | [5 empty] | DI220
| 51158.23 |  | Single Aperture White Beam Mask w/ X-Z translation (water cooled) |  | 2 | 2 | 48 | 2 |  |  |  | 2 | 1 | 2
| 51527 |  | BS Collimator (Lead)
|  |  | Dual Filter Unit (water cooled) |  | 2 | 2 | 48 | 2 | 300 |  |  | 2 | 1 | 2
|  |  | CVD Diamond Fluorescent Screen FS1 (water cooled) |  | 2 | I/O | 24 | 0.1 |  |  |  | 2 | 1 | 2
|  |  | GV | [6 empty] | DN63
| 53000 | 51750 | Mono (DCM) LCC3 |  | 3 | 8(10) | 24 | 10 | 500 | [5 empty] | 8
|  |  | GV | [6 empty] | DN63
|  |  | BPM2 (DN100 flange) |  | 3 | 2 | 24 | 2
|  |  | "NYX Hutch Components" Module 2 | [5 empty] | 150
| 53780 |  | White Beam Stop (water cooled) | [8 empty] | 2 | 1 | 2
| 53897 |  | Tungsten Collimator
Fluorescent Screen YAG FS2
|  |  | GV | [6 empty] | DN63
|  | 55000 | Mirror (VFM) LCC4 | 1645.3 | 4 | 6 | 48 | 10 | 500
|  |  | 4-Jaw Slits |  | 4 | 4 | 48 | 1.4 |  | DN100
|  |  | GV | [6 empty] | DN100
Fluorescent Screen YAG FS3 (DN63 flange)
|  |  | BPM3 (DN100 flange) | 304.8 | 4 | 2 | 48 | 2
Beam Shutter (DN100 flange)
| 58280 | 57280 | Downstream Wall
|  |  | 19-ID-D NYX ENDSTATION | 5000
| 58280 | 57280 | Upstream Wall
|  |  | BE window (water cooled) | [6 empty] | DN160
|  |  | X4A Mirror Box | 1128.5487 |  |  |  |  | DI220 | DN160
|  |  | BE window (water cooled) | [6 empty] | DN160
Microdiffractometer (IN) Be window
BPM4 microdiffractometer
BPM5 microdiffractometer
Microdiffractometer (OUT) Be window
| 60400 | 59400 | Microdiffractometer (goniometer) |  |  | 29(40)
Microdiffractometer (dewar & door center)
Pixel Area Detector (HF-4M)
PAD Regreterator
PAD Equipment Rack
| 63280 | 62280 | Downstream Wall